## Slide 1
Building N
Control Agent
Charge/
Discharge
Electricity Source
Energy Storage
End Use
Heat Supply
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Cooling storage
Domestic hot water and/or space heating storage
Battery
Grid
Solar PV
Power
Building 1
Observations
Occupant Model
Setpoint

## Slide 2
Building N
Control Agent
Charge/
Discharge
Electricity Source
Energy Storage
End Use
Heat Supply
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Cooling storage
Domestic hot water and/or space heating storage
Battery
Grid
Solar PV
Power
Building 1

## Slide 4
OpenStudio Model (.osm)
Building Metadata (.parquet)
Building Schedules (.csv)
TMY3
Meteostat
K-means Clustering
Representative Buildings
Weather (.epw)
OpenStudio ➜ EnergyPlus Translator
EnergyPlus Model (.idf)
Ideal Load
Partial Loads
Trained Dynamics LSTM Model
CityLearn
Energy Flexibility KPIs
Systems Specifications
Representative Thermostat Setpoints
Dynamic Time Warping
Control Agent(s)
EULP Database
Building Selection
ecobee Database
Phase 1: Neighborhood Design
Phase 2: Building Load
Simulation
& CityLearn
Dataset
Preparation
Phase 3: Control
Simulation & Reporting
Weather Database

## Slide 5
OpenStudio Model (.osm)
Building Metadata (.parquet)
Building Schedules (.csv)
Representative Building Selection
Weather Database
EnergyPlus Simulations
Loads
Dynamics Model
CityLearn
KPIs
Systems Specifications
Representative Thermostat Setpoints
Control Agent(s)
EULP Database
Phase 1 Neighborhood Design &
Data Collection
Phase 2 Load Simulation
& Dataset
Preparation
Phase 3 Control
Simulation & Reporting
Designer Option 1
Building Metadata
Building Count
Designer Option 2
DER Availability
System Sizing
Designer Option 4
Control Algorithm
Designer Option 5
KPI Selection
Designer Option 3
Model Type

## Slide 7
County EULP Metadata
Vintage, Orientation, Occupant Count, Infiltration Rate, Insulation, WWR, EUI
Metadata Transformation
K-mean Clustering
Optimal n-clusters Selection
Representative Buildings
Weighted random selection
County Climate Classification with Degree Days
ecobee Database Query
Average Daily Profile
Dynamic Time Warping
k-shape Clustering
Representative Setpoints
Optimal n-clusters Selection
Weighted random selection